## Slide 1: First THz Measurements at FACET
Ziran Wu, Alan Fisher, Henrik Loos
FACET 2011 Users Meeting
2011-08-29

## Slide 2: The Terahertz Gap
“Terahertz” is the gap between mm waves and mid-infrared
  1 mm to 10 µm, or 0.3 to 30 THz
  Few sources, few optical components, and poor instruments
    Pulse energy is difficult to measure: Joulemeters are uncalibrated
Laser-based THz sources are insufficient for pump-probe
  Broadband, nearly unipolar pulses are made by:
    Photoconductive switching
    Optical rectification
    Laser-gas interactions
    Typical fields of 20 MV/m; pulse energies of 20 µJ
  Difference-frequency mixing makes a high-field, few-cycle transient
    Fields as high as 10 GV/m; pulse energies again of 20 µJ
We want a quasi-unipolar pulse of ~10 GV/m and >100 µJ

## Slide 3: Coherent Transition Radiation
σe-bunch

## Slide 4
FACET Beamline
High peak-current beam yields strong THz field
Bunch length ideal for 0.1 ~ 2 THz generation

## Slide 5: THz Table Layout

## Slide 6: THz Table Setup

## Slide 7: Bunch Length Measurement
σ = 45 um
x0 = -1.56 mm
Electron bunch length σz = 45 um *2 / sqrt(2) = 63.6 um

## Slide 8: THz Spectrum
Peak at ~400 GHz
High-end cutoff at ~700 GHz (429 um)
σz ≈ 429 um /2π = 68.2 um

## Slide 9: Beam Size at Focus
Beam waist (radius): ~3.5 mm horizontal and ~2 mm vertical
Consistent with ~1 mm peak radiation wavelength
Coincide with e-beam having much larger horizontal size at THz table

## Slide 10: Simulated Beam Size
Vertical size 2.4 mm, single peak
Horizontal size 2.9 mm, double peak (Can we see it in knife edge scan?)
Using sigma_z = 100 um in the simulation
y (
mm)
x (
mm)
-10
0
10
-10
-5
0
5
10
-10
0
10
0
10
20
30
40
50
x or y (
mm)
Counts
λ = 1 mm
Vertical
Horizontal

## Slide 11: Simulated THz Propagation
Vert. polarization
λ = 1 mm
e-Beam size 2.1 mm x 75 µm
Horizontal pol.
Vertical pol.
Distance
Radius
Main contribution from vertical pol. due to flat beam
Beam radius
Transmission
-15
-10
-5
0
5
10
15
-50
0
50
100
Time (ps)
Electric Field (MV/cm)
0
10
20
30
40
50
0
20
40
60
80
100
Wavenumber (cm
-1
)
Formfactor (%)
Vertical transmission
Bunch form factor
Radiation spectrum
Field at detector

## Slide 12: Comparison with Experiment
Measured spectrum
Simulated spectrum
Water absorption
Low and high roll-off frequencies don’t quite agree
Highly depend on e- bunch length
Detector responsivity spectrum is desired

## Slide 13: At Different Bunch Compressions
BLEN pyro signal as direct indication of bunch length
Larger pyro read
Shorter bunch
Filters in the way:
Si viewport (3mm)
Nitrocellulose BS (2um)
Pyro detector
(50um crystal and coating)
Transverse bunch size

## Slide 14: Diagnostics to Be Done
Per-pulse total energy measurement
Peak field estimation based on bunch length and focal size
A different detector for the autocorrelator? Characterize the current pyro
Bunch length and transverse e-beam size variations
Downstream foil measurements
Possible formation length study

## Slide 15: Inducing Magnetic Anisotropy
Need strong B field for magnetic switching in a thin-film metallic ferromagnet
FACET THz beam may provide short and intense enough pulse
Sample ready for THz exposure; Arrangement required for single shot per sample (Single-shot operation or chop at sub-1Hz)

## Slide 16: R&D to Bring THz to Laser Room
Ideal for THz-optical pump probe experiment
Needs 10s’ of meters THz transport line
Relay imaging system with large and frequent OAPs (~200 mm dia., ~5 m EFL, every ~10 m)
Experience gain of long-distance THz transportation
Possibility of bring laser onto THz table too

## Slide 17
Thank You !

## Slide 18
Silicon Viewport
Curves