## Slide 1: Working group report
T500 and E203
Armin Reichold

## Slide 2: Wish list for FACET for user run (E203)
Reliable and calibrated beam data (BPM TMIT’s vary among themselves and from toroids)
Clear written instructions which instruments give reliable data, how to access them and what their calibration is or how it can be found
Layout of facet with actual survey positions of instrumentation and experimental apparatus
Toroid data should be available in EPICS and EPICS archive
Access to EPICS archive from outside SLAC (so far only via facet-srv01)
Users should not write their own beam data logging system. This should be central EPIC archive. Need help with this. Probably in form of software and hardware.
Access routines to EPICS archives from user code (not just from interactive tool such as FACET home) to be provided by SLAC

## Slide 3: Wish list for FACET for user run (E203)
EPICS tutorials and examples
Beam profiles in LI20 to be taken under user control and archived
If “SLAC” want to use E203 in our absence we need a new grating and filter control system with digital controls (all analogue & manual now). Do we need to mover our DAQ-control from matlab to EPICS. Need to collaborate on this.
Beams at E203 circular or elliptical with dy>dx and a method for measuring/extrapolating the beam cross-section at our location from wire scans
Alternative method for measuring grating approach to beam. Now we monitor backgrounds and “inch” forward until “it hurts”. Maybe could use pick-ups on gratings? Need advice and collaboration.
IR background reduction using coated beam pipes
Moving DAQ below the table (needs tray fixed to bottom of table, cable could not reach floor level)

## Slide 4: Joint list T500 – E203
Both experiments will define common bunch length variable by using time in which 1-sigma and 90% charge is contained
T500 will use temporal reconstruction based on same phase reconstruction algorithm
DAQ and data storage
  Initially aim to write both of our data into EPCIS or other common platform in offline mode but have no idea yet how to do this.
  Need to be able to do Beam Synchronous Acquisition (BSA)
    First step: time server to synchronise better than 10Hz
    Real BSA
  Clarify the relation between beam pulse ID in EPICS and SCP
Both experiments would like to have burst mode (single bunch)
  Humidity, temperature and pressure measurements on T500 and E203 experiments
Preparation for dry air volumes around experiments to reduce absorption. Dry air supply, “tent or box”