## Slide 1: X-band Structures Test Results at NLCTA
Faya Wang
Chris Adolphsen, Christopher Nantista
9-Feb-11

## Slide 2
Time | Structure | Note | Performance
12/09 -4/10 | TD18vg2.3-Disk SLAC_1 | Cells by KEK, Assembled at SLAC | Fair: after 1000 hours, 79 MV/m, 230 ns at LC DBR spec – no hot cells
8/10 – 9/10 | T18vg2.6-Disk CERN_2 | CERN Built | Fair: after 550 hours, 85 MV/m, 230 ns at LC DBR spec – no hot cells
9/10 – 12/10 | T24vg1.8Disk SLAC_1 | SLAC Built | Fair: after 600 hours, 82 MV/m, 230 ns at LC DBR spec – no hot cells
11/10 | Dual-Mode Cavity – 1st Run | SLAC Built | OnlyTEM mode, Heavily detuned
2/11 | Dual-Mode Cavity – 2nd Run | Re-tuned, two modes are at 11.424 | TBD
Structure Performance Summary
LC DBR = 4e-7 pulse/m

## Slide 3
T18
TD18
T24
100 MV/m, Average Gradient
18 series, strong tapering
24 series, high efficiency

## Slide 4
Surface Magnetic Field of TD18

## Slide 5
BDR Pulse Heating Dependence of TD18
110 MV/m
Notes: It is very interesting to see the BDR at 50ns for TD18, which is about 56 degC of peak pulse heating in last cell.

## Slide 6
Difference between T and TD18 explained?
Points of enhanced breakdown rate in TD18 tested at SLAC probably identified.
Location is point of maximum surface current.
Damping waveguide
Inner cell
Origin of problem thought to be current carrying capacity of bond joint.
TD24 has lower surface current and joint is receiving renewed scrutiny.
W. Wuensch
CLIC ACE
2-2-2011

## Slide 7
Breakdown sequence statistics
Both sets of measurements were made on TD18s
SLAC: 100 MV/m @ 200ns

## Slide 8
Start of Operation 09/21/10
Vacuum History
Start of Operation 08/02/10
T18_CERN_2
T24_SLAC
Start of Operation 03/12/09
TD18_SLAC
9172: for input load
9186: structure
9180: right output load
9184: left output load
9160: WG to structure

## Slide 9
Breakdown Location distribution
T18_Cern_2
TD18_SLAC
T24_SLAC

## Slide 10
Structure Performance Summary at 230 ns
4e-7 pulse/m

## Slide 11
X-band Dual-Mode Cavity
TE011
TEM
E-field
B-field
TE011
TEM
Chris Nantista

## Slide 12
Crosstalk: -22.75 dB (0.531%)
Minimum S11: -12.17 dB (6.07%) @ 11.4260 GHz
Minimum S22: -25.33 dB (0.293%) @ 11.4260 GHz
Tuning Cold Test Data
TEM
fr = 11.426 GHz
Q0 = 9,334.8
Qe = 8,334.2
QL = 4,403.1 (b = 1.1201)
TE
fr = 11.426 GHz
Q0 = 14,935
Qe = 24,913
QL = 9,337.5 (b = 0.5995)
Chris Nantista

## Slide 13
TE011 and TEM3 modes are simultaneously excited

## Slide 14
TEM High Power Test

## Slide 15
Dual-moded Cavity 1st Run with TEM3 Mode
Not Real Breakdown Cavity heavily detuned

## Slide 16
TEM
TE011
X-band Dual-Mode Cavity Test Setup

## Slide 17
TE011 High Power Test

## Slide 18
Start of Operation 31/1/11
Start of Operation 31/1/11
TE – STN1
TEM – STN2
Vacuum History
Pulsed heating is 50 K by TE011, and 63 K by TEM.
The peak surface field from TEM is 200 MV/m.

## Slide 19
Summary
. Although only 600 hrs of operation, the performance of T24_SLAC is worse than T18_SLAC even though it has lower pulsed heating.
. Surface contamination or vacuum leakage may limit the performance of T18_CERN_Disk_2.
. So far, no evidence of a BDR enhancement from the added 50 deg TE mode pulsed heating in the dual-mode cavity with 200 MV/m peak TEM surface electric fields